Kvalobs Activity Plan - Version 2.1.1  22.01.2010

Version 2.1.0 Comments: Added some few bugs reported after May 2009.  New activities:  18, 200, 87.

Version 2.1.1 Comments: Change to higher priority in QC2 activities 72, 75 (1->0) and 74 (2->1)

Status Codes

2	CLOSED	The activity has been completed.

1	OPEN		The activity is awaiting attention.

0	ONGOING	The activity is partly done, but the overall activity is open.

To help identify the status, all CLOSED actions are written in Green Font Colour,
Red indicates the open part of ongoing actions and Black are open actions which are not in progress.

(i.e. Green=Closed    Red/Black=TODO)

Blue indicates possible SMHI activities (except when used in Link column).

Table is sorted by  “Pri / Act No / ”  (ascending).   (Activities related to the HQC application are kept in a separate document.)

| Pri | Act No. | Status Code | Resp. | System | Task | Description | Link | Status & Comments | Delivery Priority details |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 12 | 1 | VB 1 w | Aggregation | Aggregation in non real time | Needs to run or rerun aggregation in non real time from script. Input is period, elements / all, typeid / all, stations / all. Run response needs to be high at least in Histkvalobs. Default: Do not touch HQC marked values |  | OPEN |  |
| 0 | 13 | 1 | VB >3 w LA POK | Aggregation | Aggregation new elements | Some new diurnal values to be aggregated. Calculation of P0 after correction of PR – specification needed TAM, NN, UU,… |  | OPEN Calculation of P0 requires metadata |  |
| 0 | 14 | 1 | VB 3 w | Aggregation | Aggregation -parameterize | To parameterize the aggregation function…..kind of stations… Aggregation of non real time data typeid=404 (Pluviometerdata) | Bug: 1175 | OPEN GK beskriv behovet |  |
| 0 | 15 | 1 | VB ? d | Aggregation | Flags | No aggregation. Handling fmis=3. Recover the aggregation implies to put fmis=1. | Bug: 1155 | OPEN |  |
| 0 | 17 | 0 | VB 1 w LA JM | Aggregation | Flag on aggregated values | To compute QC-flag on aggregated values (from observation values) |  | ONGOING See activity no. 26, 12 Specification proposal done ? Verification and implementation remains. POK sjekk med LA -> wiki |  |
| 0 | 18 | 1 | VB ? d | Aggregation | Aggregation Bug | The aggregator loops in special cases | Bug 1256 | OPEN |  |
| 0 | 22 | 1 | VB 12 – 24 w Se 23 | qaBase | QABase does not handle more than one typid for one paramID | Error in flagging as only one instance of the paramid is used. The other instances (other typid) are not used. Extension to handle several typid per station in checks. | Bugzilla: 967 | OPEN Related to activity 23 Refaktorering Contribution from SMHI? Task on SMHI/met.no workshop |  |
| 0 | 23 | 1 | VB OB Se 22 | qaBase QC1 | level and sensor | qaBase handles only 1 sensor per station, and only standard level DD at 25m is checked by FF at 10 m Scripts flags only at level and sensor = 0 | Mail: Pål 051005 Bug: 886 (960) | OPEN Related to activity 22 Refaktorering. See activity 62 One station with level>0 has separate checks today. Autoobs is not able to assign level, because of dependencies to “monthly files” production for “visauto” – this should be terminated. Proposal: Should use the new KvDataInputClt.jar program ? | Pri 0 for qaBase Pri 2 for autoobs |
| 0 | 29 | 1 | VB 1 d | qaBase | Table data and text_data | Tabellene data og text_data bør få en ny kolonne 'edittime': tidspunkt for når siste gang noe er blitt skrevet til raden, eller trolig mer nyttig (når QC2 kommer på plass): Tidspunkt for sist gang noe nytt ble skrevet i original eller corrected. Dessuten bør det lages nye indekser i data_history og text_data_history som gjør oppslag i disse tabellene raskere. | Epost Pål 211108 Bug 1228 | OPEN Proposal: To be solved by a view |  |
| 0 | 30 | 1 | VB 1 h | qaBase | Flag specification | "fmis=4: kontrollene trenger å vite om original er korrigert eller tilfordelt". Arbeidsmengde forslås endret til 1d (vi trenger å sjekke i koden om ny verdi for fmis skaper uforutsette problemer) | Bug: 1240 | OPEN |  |
| 0 | 31 | 1 | VB | qaBase | Cfailed | Repeating controls several times for the same element. Ref cfailed. |  | OPEN Akt.nr er egentlig 51 Solved by 22 – 23 ? |  |
| 0 | 32 | 0 | BM 5 d | Dataflow from Kvalobs | kvServiced2, persistent subscription | To change kvServiced2: To remember what has been sent, and to know what to retry sending to subscribers. |  | ONGOING Changes in CORBA interface needed. Implemented. To be tested. |  |
| 0 | 33 | 1 | BM | Dataflow from Kvalobs | Kvservied2 | To send updates when only flags is changed (no change in corr or original) |  | OPEN Need to check how this works today ( BN ) |  |
| 0 | 37 | 1 | BM PS 4 w | Dataflow from Kvalobs | BUFR encoder Synop encoder | To make BUFR encoding from Kvalobs. Errors in synop encoder Synop encoder should be based on the useinfo flag | Bug: 1131 1135, 1254 1257 | OPEN BUFR encoding to be done during 2009 To use kvsynopd – see 36 |  |
| 0 | 38 | 1 | TR BM ØL ÅMV | Dataflow from Kvalobs | kv2kro | Use the interface kv2klima to make a new kv2kro To be sure that all data is transferred to KRO. |  | OPEN |  |
| 0 | 43 | 1 | BM 1 w | Dataflow to Kvalobs | Decoder – delete before update | A mix of original and corrected elements is the result as a correction of the entire observation is entered to Kvalobs. The original message should be deleted (from decoder) before entering the correction. Remind also activity 42 for the opposite problem. | Bugzilla: 941 | OPEN Related to versioning.(av data history) |  |
| 0 | 45 | 0 | BM 1 w VB | Dataflow to Kvalobs | Transactions | All data input to the database shall be transactions. |  | ONGOING Partially done ????? Børge | Sept 08 |
| 0 | 46 | 0 | BM VB 1 w | Dataflow to Kvalobs Model data | several sets of model data | To improve the checks and interpolation Model data of Kalman filtered air temperature (TAK). Or even better the adjusted Kalman filter model from WeatherDB (PROFF) |  | ONGOING Discussion with Mariken Better model + Kalman |  |
| 0 | 62 | 1 | GK BM | Decoding | Autoobs/Comobs-decoding system | Error in decoding IR | Bug: 1224 | OPEN met.no specific problem GK checks out this bug |  |
| 0 | 66 | 1 | BM 2 d | Decoding | SYNOP | Some simple bugs | Bug: 1218 1220 1227 1173 1237 1251 1255 | OPEN |  |
| 0 | 67 | 1 | BM 1 d | Decoding | Typeid 302 | Detection of “observations sent to early” | Bug: 913 | OPEN |  |
| 0 | 68 | 1 | BM | Decoding | Official data | To distinguish official data and test data Using information from Stinfosys….. To set a new flag in useinfo from decoder? |  | Ref activity 153 |  |
| 0 | 70 | 0 | PE TR 3w (BM) (VB) | QC2 | Development of overall QC2 architecture including test version and production version | General task to provide a Qc2 system to run all Qc2 algorithms. NB! QC2 implementation as a separate daemon. Make test environment for production including activities 71 and 73. Define tests before production release: - implementation test - system test. Documentation for production release To use DB-tables instead of config files??? Pro - contra qaBase should not do any action after QC2 |  | ONGOING linked to 71, 72, 73, 74 etc. Patially done SMHI ? |  |
| 0 | 71 | 0 | PE | QC2 | QC2m-2 | Redistribution of accumulated days of RR_24 Spatial QC and interpolation. |  | ONGOING Development of prototype done. Discuss QC2 with Kvalobs team |  |
| 0 | 72 | 0 | PE 2w | QC2 | QC2d-1 | Dip check. Hourly and minute data. |  | ONGOING Minute data= Pluviometer data |  |
| 0 | 73 | 0 | PE | QC2 | QC2d-2 | Interpolate hourly data. Akima. Up to 50% missing ???? for 24 hrs ???? |  | ONGOING First step to interpolate single missing hourly values by linear interpolation |  |
| 0 | 75 | 1 | PE | QC2 | QC2d-3 | Spatial-timeseries-checks | Bug: 895 | ONGOING |  |
| 0 | 76 | 1 | LA PE | QC2 | Nordklim acceptance | To get acceptance of QC2 methods and flagging in Nordklim group |  | ONGOING |  |
| 0 | 77 | 1 | Klimadiv. | QC2 | Acceptance test | Specification of acceptance test |  | ONGOING |  |
| 0 | 80 | 0 | KJ LA GK 3 w | QC1 | New metadata for QC1 | New algorithm for making Range check values as metadata for QC1 QC1-1 and QC1-4 Ship: Physical range values must be improved. | Mail: Lars 140807 Bugs: 875 891 914 | ONGOING Specification done on Kvalobs.wiki Implementation |  |
| 0 | 83 | 1 | GK ? w LA JM BN ØL | QC1 | QC1 checks Automatic correction | Evaluation of all QC1 checks SMHI results, what have been made in Python Change checks in QC1-2 to make automatic corrections for instance for the elements N/CH |  | OPEN Task on workshop SMHI / met.no Proposal to be made by Zbigniew, Lars, Bjørn. |  |
| 0 | 84 | 1 | TR 1 w | QC1 | QC1-5 Position check | Checking the change in position. |  | OPEN |  |
| 0 | 86 | 1 | ØL GK 1 d | QC1 | QC1-1 9999-data | Enkelte automatstasjoner leverer fra seg manglende verdier som 9999/999/99 etc. Disse blir lagt inn med denne verdien i original i data-tabellen; Forslag: Original = 9999 og corrected=-32767 Lage en sjekk som behandler dette. | Mail: Lars 20.09 2005 Bugzilla: 932 | OPEN met.no specific problem Forslag se bug 932. Flagg spesifikasjon trengs |  |
| 0 | 87 | 1 | GK | QC1 | QC1-1 auto-snow depth | To use sensor.info as metadata in the check. Negative original values other than -1 and -3 |  |  |  |
| 0 | 91 | 0 | BM LA GK 1 w | HQC-1 | The detection of highly suspicious data. Near real time corrections. | Svært mistenkelige data som er ekstra uheldig om går ut fra met.no hvis de er feil (gjelder spesielt temperatur og nedbør) bør ikke gå ut i synop, men heller forkastes av Kvalobs i første omgang, for evt å sendes senere som CCA hvis funnet OK. Lars og Gabriel må bli enige om prosedyren for utelukkelse. Vi må finne en metode for å varsle Salen om slike svært mistenkelige verdier, og Salen må være i stand til å korrigere i Kvalobs. Forkastet gjennom QC 1-9. Godkjennelse må gi CCA. Synopenkoder må reagere på HQC-rettelse innenfor 24 timer (på endret korrigert verdi). Forutsetter hyppig sjeklk fra VA. | Mail: Gabriel 07.06 2005 Bugzilla: 900 | ONGOING met.no specific problem QC1-9 implementert for å kunne forkaste verdier som flere sjekker har funnet svært mistenkelige. VA (Salen) har sagt seg villig til å overta ansvaret for avislistene fra IT-operatørene. Spesifisere flaggkriterier. Lars, Gabriel, Pål Implementering |  |
| 0 | 100 | 0 | PS 2 d | Hist-kvalobs | Deleting old data in Kvalobs | Need to have 4 months in Kvalobs, and the older data only in Histkvalobs. Tables: data, text_data, rejectdecode |  | ONGOING Cron jobs to copy from Kvalobs to Histkvalobs, and delete in Kvalobs. Automation to be done. | Oct 08 |
| 0 | 101 | 0 | TR BN | Hist-kvalobs | Historical Kvalobs database | Database for historical data and data not finally QC’ed in Kvalobs. Receives data from Kvalobs before deleted in Kvalobs. Porting of Histkvalobs to etch Operational function in Klimadiv. Ny server må skaffes. |  | ONGOING HIST_KVALOBS is running on poriaz. Operational function in Klimadiv, missing instructions. To be updated with metadata from Stinfosys. New server is ordered. |  |
| 0 | 130 | 0 | POK GK Åse Knut J | Datatyper og stasjoner | Foreign stations | Per februar 2009 går 90 nordiske stasjoner inn i Kvalobs. FoU har bestilt de såkalte EWGLAM-stasjonene via Kvalobs til Klimadb for verifisering av modellen. Dokumentet EWGLAM.synop.20090205 (med 301 stasjoner). Den nye stasjonslista inneholder de utenlandske stasjonene som pr. idag lagres i 'miopdb' Grunnen til at det er noe færre i den nye stasjonslista, er at den såkalte EWGLAM-lista som brukes for verifikasjonsformål i Hirlam-samarbeidet ikke har blitt oppdatert de siste årene, slik at endel stasjoner trolig har falt fra uten at nye er lagt til. Dokumentet EWGLAM.temp.20090205 (med 52 radiosondestasjoner). Den inneholder de radiosondestasjonene som lagres i 'miopdb' pr. idag, bortsett fra de som ikke hadde noen observasjoner i 2008 (f.eks. Gardermoen og Oslo). Vi ønsker flg. parametere for synop'er: NN, DD, FF, FX, RR_12, RR_24, PP, PR, TA, TD Høyest prioritet har: PR, TA, DD, FF, RR24, N, FX Fra radiosondestasjoner bruker vi: Z, DD, FF, TT og TD Det er også ønske fra den nye værportalen om at alle utenlandske synop vi mottar blir videredistribuert til KlimaDVH via Kvalobs. Enkel grensesjekk ønskes på synop. |  | ONGOING met.no specific For FoU verifisering. Spesifikasjon fra Mariken / Eivind. (POK) Legge inn stasjonsliste i Kvalobs for synop stasjonene. (kvdrift) Sette opp grensesjekken på synop Legge inn stasjonsliste i kv2klimafilter for overføring til KDVH (Åse) Sondedata – første skritt: Ta inn stasjonene i KDVH (Knut J.) ved å bruke dagens kanal. Sjekk elementene. |  |
| 0 | 151 | 0 | LA GK VB PS | Flag | Useinfo(2)=2 Useinfo(3)=0 | “Very uncertain” – “not corrected” values in DVH are rejected to show up in yr.no. Change the algorithm for controlinfo giving useinfo(2)=2 ? Change which checks to use? Change parameterization of checks giving the controlinfo? Nedgradere algoritmen for useinfo? Today: wsKlima for yr is a separate process, we have “adjusted” the “very uncertain level” to “uncertain” to get more data on yr. This will be set back as yr will take care of this later. | Mail: Gabriel 251108 | ONGOING Discussion in progress |  |
| 0 | 152 | 0 | GK LA PS PE | Flag | QC2 flags | Specification of controlinfo for QC2. Spesification of useinfo after QC2 Conflict between QC2 and QC1? |  | ONGOING Discussion in progress SMHI |  |
| 0 | 153 | 0 | GK LA PS | Flag | Test data flag | Specification of flag to distinguish official data and test data Proposal: Useinfo(6) = 0 main element = official element Useinfo(6) = 1 secondary element = test element Useinfo(6) = 9 status not given |  | ONGOING Ref. 68 Discussion in progress |  |
| 0 | 154 | 0 | SMHI | Flag | Fd=4 ? | Needs to flag missing values as possible ongoing accumulation for precipitation element. | Mail from SMHI | ONGOING Discussed at met.no in feb-09 GK answer SMHI Implementation S |  |
| 0 | 170 | 0 | SA BF | Diana | SMS-precipitation stations in the ordinary Diana | To be based on text files. It should be QC1-checked data from Kvalobs (including SMS-precipitation). Easily implemented from KDVH |  | ONGOING High priority form VA (Skaslien) Format ref. Bård Fjukstad. Not a Kvalobs activity |  |
| 0 | 200 | 0 | BM | System Library | Autotools | Bug when setting up Kvalobs on Ubuntu - Hardy | Bug 1249 | OPEN |  |
| 0 | 300 | 1 | TR | Documentation | Documentation | Scripts. Updating metadata |  | OPEN |  |
| 0 | 301 | 1 | VB | Documentation | Documentation | Find missing smsedit |  | OPEN |  |
| 0 | 302 | 1 | BM | Documentation | Documentation | Dataflow to and from Kvalobs Tables |  | OPEN |  |
| 0 | 400 | 0 | POK GK | Workshop | Met.no / SMHI | Activities – priorities Resources – contribution on activities Time schedule QC2 development Kvoss – common and national elements, modules and versions Perl – Python |  | ONGOING SMHI-repr.: |  |
| 1 | 28 | 1 | VB | qaBase | Interpolation as the last QC-function | QC1-4 makes both a QC and an interpolation by numerical model value. This happens before QC1-9 rejects data values. The result is missing data values as no model interpolation is possible. This will also be true for QC2 if QC2 rejects data. The QC1-4 interpolation function should be separated from the QC check. | Mail: Pål 20.11.08 | OPEN To do after 22 and 23 |  |
| 1 | 40 | 1 | BM 1 w RR | Dataflow to Kvalobs | Watchdog on rejectdecode | IT-operators should have a message as observations are rejected by the decoding unit. IT-operators may call observers to resend observation. Write to file and use SMS for operators. | Mail: Per-Ove 15. mars 2007 | OPEN (Check with PE) Synop is used today. This gives trouble in HQC and dataflow to Klima. |  |
| 1 | 47 | 1 | BM VB 1 w OET | Dataflow to Kvalobs Model data | qaBase with several sets of model data | To at least improve checks/interpolation of snow/no-snow on ground. Model data of water amount in snow on ground (RWA). GRIB-files WeatherDB (WDB) |  | OPEN |  |
| 1 | 63 | 0 | BM 3 d | Decoding | Meldinger med feil tidsstempling må endres til riktig obstime eller forkastes. Mangler for visuelle værstasjoner | Dekoderne bør oppdage meldinger hvor tidsstemplingen åpenbart er feil (f.eks. når dagen som er oppgitt er i morgen) og enten endre til riktig obstime eller forkaste til rejectdecode. Gabriel har laget et forslag til hvordan dekoderen bør behandle meldingenes tidsinformasjon. PIO-stasjoner og nedbørstasjoner er spesielle problemområder. Andre typeid? | Mail: Subject: SV: Pål 19. april 2005 Bugzilla: 882 885 | ONGOING met.no specific problem Put specification on wiki (GK), to be commented by BM. |  |
| 1 | 74 | 1 | PE | QC2 | QC2 consistence check in a “complete” observation | QC2 consistence check for all typeid per station. Makes it possible to check a complete observation from AWS + VIS (automatic + manual stations). It will also improve or substitute the QC1 consistency checks? |  | OPEN |  |
| 1 | 81 | 1 | BN ØL | QC1 | QC1-1 update New checks QC1-2 | Checks to be made for paramid in ( 47-49, 73-80, 95, 127, 227 and 250) | Bug: 834 875, 936 1214 1232 | OPEN 47-49 and 73 has now range check, Apr. 2006. See. Act. 80 |  |
| 1 | 131 | 0 | BM ? KJ | Datatypes and stations | METAR | METAR dataflow through Kvalobs. Make dataflow as test. Make controls for new elements Another decoder made by Jurgen? |  | ONGOING Decode SW for METAR is done. Preparations of T_METAR table in Climate DataWarehouse is done. Ready for data from Kvalobs | Sept 08 |
| 1 | 140 | 0 | Kvdrift TR / ØL VB BM | Implementation of new version | Procedures for implementation and testing | Before implementation as a running system it will be required to run a test version on a complete system with respect to dataflow and related applications. Needs a complete parallel system Data input…..,Kv2klima to the test Climate Data Warehouse (KD2), KRO., SYNOP production, HQC |  | ONGOING Needs to be specified by Kvdrift as a realistic procedure. Status – utført ???? Børge , Vegard |  |
| 2 | 16 | 1 | VB ? w | Aggregation | Aggregation – not only in corr | Aggregation only in “corrected” when the obs is too late. Should also aggregate in original value | 1178 | OPEN |  |
| 2 | 42 | 0 | BM | Dataflow to Kvalobs | Updating single elements | Need to update time series of only one single element. Updating from DVH to Kvalobs. Correction of systematic errors in time series. | Bugzilla: 970 | ONGOING Is this fixed now ???? Børge (pok) Ref 34 |  |
| 2 | 44 | 1 | VB 8 w | Dataflow to Kvalobs | Corrections before data input | SMSedit is an application to correct SMS-messages at met.no. It works for typeid 302, needed for typeid 308 (and 312). |  | OPEN Works fine for typeid 302 (message format 2) |  |
| 2 | 61 | 1 | BM | Decoding | Unknown observations | Unknown observations with respect to the observation program (obs_pgm) should be rejected during decoding. Proposal: Not reject, but rather flag as kind of prequalification. | Bugzilla: 902 | OPEN |  |
| 2 | 78 | 1 |  | QC2 | QC2….. | Specification of statistical checks |  | OPEN |  |
| 2 | 79 | 1 |  | QC2 | QC2…… | Specification of climatological checks |  | OPEN |  |
| 2 | 85 | 1 | VB TR | QC1 | QC1-5 Position check | Checking ship onshore position errors Needs a land/sea metadata matrix |  | OPEN |  |
| 2 | 141 | 0 | ØL / BN TR 2 w | Implementation of new version | Algorithm testing | Algorithm testing to be set up on a separate computer Virtual server. | Bug: 952 | ONGOING Rime ???? Nytte ??? Pål sjekk med Øystein , Bjørn |  |
| 3 | 26 | 1 | VB | qaBase | QC of corrected and aggregated values – trigging of CCA | A general weakness that corrected and aggregated values are not QC’ed. The flagging system is not designed for rerun of QC – like after HQC (as only useinfo is set). Important as corrections should trig a CCA for the SYNOP. Flags on aggregated values, need to get flags from observations. 3 elements to consider: Aggregation / qaBase / QC2 | Mail: Pål 161105 Bug: 984 1178 | OPEN Ref. activity 150 for QC1 – flag - specification QC2 implies new activity? |  |
| 3 | 34 | 1 | BM | Dataflow from Kvalobs | (Re)pushing av data over til KlimaDB | By direct SQL changes in table data we need an automatic pushing to subscribers and also activation of aggregation function | Bugzilla: 940 | OPEN To be solved by a GUI |  |
| 3 | 36 | 1 | BM 3 d | Dataflow from Kvalobs | Kvsynopd | The infrastructure in kvsynopd should be used for other purposes, ref. request from SMHI. The changes (below) will also make it easy to fix SYNOP problems. * Use the filter when data is selected from the cache database to produce SYNOP (not when data is inserted to the cache database. * The cache database should contain the QC flags (control- and useinfo). |  | OPEN SMHI? To be used in 37 |  |
| 3 | 39 | 1 | BM | Dataflow from Kvalobs | Subscribing history | Subscribe for KRO the tables: data_history and text_data_history | Bug: 893 | OPEN |  |
| 3 | 82 | 1 | VB BN | QC1 | Detailed information form qc-script to cfailed | More details needed. Need to know in clear text what’s wrong. Melding om hvilken del av en større algoritme/sjekk som slo ut kan nå sendes ut i den vanlige returvektoren med nøkkel "subcheck". Gjenstår å ta denne muligheten i bruk i kontrollskriptene. Viktigere ser det ut til å være å få delt opp skript hvor det er mulig å få samtidige utslag i mer enn en test. "geok-skriptet" er blitt delt opp. For det andre virkelig store skriptet: QC1-2-100 ser det ut til at behovet for mer detajert melding allikevel ikke er til stede. | Mail: Audun 23.05 2005 | OPEN |  |
| 3 | 110 | 0 | BM | Reserveløsning | Only one synop encoding system for Kvalobs and Autoobs | Hvis Kvalobs er nede, skal Autoobs ta over genereringen av synop. Imidlertid vil flere synoper da bli svært mangelfulle, ettersom det er mye funksjonalitet i Kvalobs sin synopenkoder som ikke finnes i Autoobs sin enkoder. Synopenkoderen i Autoobs bør derfor erstattes av synopenkoderen i Kvalobs. |  | ONGOING met.no specific problem Ikke Nødvendig ???? Børge. Stabil drift av Kvalobs med reservemaskin. |  |