# Single Missing Point Revised
The tests at singlemissingpoint confirmed the basic performance of the interpolation. This page now looks at the revised specification and the flag handling that this implies.
Example Scenarios:
fmis=1
50540 | 2008-03-30 14:00:00 | 6.4 | 211 | 2008-03-30 13:54:58 | 330 | 0 | 0 | 6.4 | 1110100000000010 | 7000000000000000 |
50540 | 2008-03-30 15:00:00 | -32767 | 211 | 2008-03-30 15:30:04 | 3 | 0 | 0 | -32767 | 1000501000000000 | 7890700000000001 | QC1-4-211:1,QC1-4-211:1
50540 | 2008-03-30 15:00:00 | 7.3 | 211 | 2008-03-30 14:54:58 | 330 | 0 | 0 | 7.3 | 1110100000100010 | 7000000000000000 |
fmis=2 : no single point examples found
85891 | 2008-03-30 09:00:00 | 2.3 | 211 | 2008-03-30 08:55:28 | 330 | 0 | 0 | -32766 | 100060200000061A | 3038900000000FF2 | QC1-0-211:1,QC1-4-211:1, hqc
fmis=3
44630 | 2008-03-30 14:00:00 | 6 | 211 | 2008-03-30 14:02:52 | 3 | 0 | 0 | 6 | 1001100000000000 | 7000000000000000 |
44630 | 2008-03-30 14:00:00 | -32767 | 211 | 2008-03-30 14:02:53 | 3 | 0 | 10 | -32767 | 0000003000000000 | 9899900000000000 |
44630 | 2008-03-30 14:00:00 | 6.1 | 211 | 2008-03-30 14:02:52 | 3 | 1 | 10 | 6.1 | 0000000000000000 | 9999900000000000
fmis=4 no examples found for paramid=211, but here is something for 213:
33890 | 2006-12-17 23:00:00 | -48.2 | 213 | 2006-12-18 11:17:15 | 3 | 0 | 0 | -32766 | 15120040000000AA | 3138300400000032 | QC1-1-213:1,QC1-3a-213:1,QC1-9-213:1,hqc
TODO: check kvalobs db on other servers ...
The revised algorithm also has to recheck values in case the neighbours have changed. In general terms the logic is as follows:

NB The algorithm in the end has been implemented by checking the neighbours first and then working through the ftime options, ... but the result is the same.
# Test Run
The following is a first test with the updated algorithm.
Step 1	This is just setting up some test data ... only one point for now!

kvalobs=# DELETE from DATA where stationid=76992 and obstime between '2010-07-29' and '2010-07-30' and paramid=211;
DELETE 25
kvalobs=# COPY data FROM '/metno/kvalobs/TESTDATA/kvqc2_1.0.4/DB-Input.dat' USING DELIMITERS ';' ;
COPY 25
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+---------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | -32767 | 0000003000000000 | 9899900000000000 |
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
Step 2	Run the algorithm to provide an interpolated point for the missing value

kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+----------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 2 | 0000001100000000 | 6894900000000000 | QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
Step 3	Change the the corrected value

kvalobs=# UPDATE data SET corrected=10 WHERE stationid=76992 AND obstime BETWEEN '2010-07-29' AND '2010-07-30' AND paramid=211 AND original=-32767;
UPDATE 1
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+----------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 10 | 0000001100000000 | 6894900000000000 | QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
Step 4	Rerun the algorithm ... it interpolates again and sees the new value is different, the new value is inserted

kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+------------------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 2 | 0000001100000000 | 6894900000000000 | QC2d-2 QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
Step 5	Now update the neighbour so that it no longer shall be used for an interpolation

kvalobs=# UPDATE data SET useinfo='7010000000000000' WHERE stationid=76992 and obstime='2010-07-29 14:00:00' and paramid=211;
UPDATE 1
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+------------------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7010000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 2 | 0000001100000000 | 6894900000000000 | QC2d-2 QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
Step 6	Rerun the algorithm ... this time it should update corrected as a missing value once more ...

kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+--------------------------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7010000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | -32767 | 0000003100000000 | 6899900000000000 | QC2d-2 QC2d-2 QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
Notes
Check behaviour of CFAILED ... is this desired?
# Test Run 2
The changes in this run:
- latest version of kvalobs lib installed and qc2 rebuilt
- a change in the neighbour value is included (rather than a change in neighbour flag value)
kvalobs=# DELETE from DATA where stationid=76992 and obstime between '2010-07-29' and '2010-07-30' and paramid=211;
DELETE 25
kvalobs=# COPY data FROM '/metno/kvalobs/TESTDATA/kvqc2_1.0.4/DB-Input.dat' USING DELIMITERS ';' ;
COPY 25
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+---------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | -32767 | 0000003000000000 | 9899900000000000 |
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+----------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 2 | 0000001100000000 | 6894900000000000 | QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
kvalobs=# UPDATE data SET corrected=-1 WHERE stationid=76992 AND obstime='2010-07-29 14:00:00' AND paramid=211;
UPDATE 1
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+----------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | -1 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 2 | 0000001100000000 | 6894900000000000 | QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+----------
     76992 | 2010-07-29 14:00:00 | 2 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | -1 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 2 | 0000001100000000 | 6894900000000000 | QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
kvalobs=# UPDATE data SET original=-1 WHERE stationid=76992 AND obstime='2010-07-29 14:00:00' AND paramid=211;
UPDATE 1
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+----------
     76992 | 2010-07-29 14:00:00 | -1 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | -1 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 2 | 0000001100000000 | 6894900000000000 | QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+------------------
     76992 | 2010-07-29 14:00:00 | -1 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | -1 | 0111000000100000 | 7000000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 0.5 | 0000001100000000 | 6894900000000000 | QC2d-2 QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
kvalobs=# UPDATE data SET useinfo='7010000000000000' WHERE stationid=76992 and obstime='2010-07-29 14:00:00' and paramid=211;
UPDATE 1
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+------------------
     76992 | 2010-07-29 14:00:00 | -1 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | -1 | 0111000000100000 | 7010000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | 0.5 | 0000001100000000 | 6894900000000000 | QC2d-2 QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
kvalobs=# SELECT * FROM data WHERE stationid=76992 AND obstime BETWEEN '2010-07-29 14:00:00' AND '2010-07-29 16:00:00' AND paramid=211;
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+--------------------------
     76992 | 2010-07-29 14:00:00 | -1 | 211 | 2010-07-29 14:06:19 | 11 | 0 | 0 | -1 | 0111000000100000 | 7010000000000000 |
     76992 | 2010-07-29 15:00:00 | -32767 | 211 | 2010-07-29 16:30:04 | 11 | 0 | 0 | -32767 | 0000003100000000 | 6899900000000000 | QC2d-2 QC2d-2 QC2d-2
     76992 | 2010-07-29 16:00:00 | 2 | 211 | 2010-07-29 16:06:19 | 11 | 0 | 0 | 2 | 0111000000100000 | 7000000000000000 |
(3 rows)
# Test Run 3
This works the same as the above ... but also includes a -32766 example. Here are the test data and the associated sql commands:
COPY data FROM '/metno/kvalobs/TESTDATA/kvqc2_1.0.4/Qc2-211-SinglePointTest.db.dat' USING DELIMITERS ';' ;
SELECT * FROM data WHERE stationid=87120 AND obstime BETWEEN '2010-09-16 06:00:00' AND '2010-09-17 16:00:00' AND paramid=211;
### Run ALgorithm...
SELECT * FROM data WHERE stationid=87120 AND obstime BETWEEN '2010-09-16 06:00:00' AND '2010-09-17 16:00:00' AND paramid=211;
UPDATE data SET corrected=5, original=5 WHERE stationid=87120 AND obstime='2010-09-17 09:00:00' AND paramid=211;
UPDATE data SET corrected=7.2, original=7.2 WHERE stationid=87120 AND obstime='2010-09-16 11:00:00' AND paramid=211;
SELECT * FROM data WHERE stationid=87120 AND obstime BETWEEN '2010-09-16 06:00:00' AND '2010-09-17 16:00:00' AND paramid=211;
### Run ALgorithm...
SELECT * FROM data WHERE stationid=87120 AND obstime BETWEEN '2010-09-16 06:00:00' AND '2010-09-17 16:00:00' AND paramid=211;
UPDATE data SET useinfo='7010000000000000' WHERE stationid=87120 and obstime='2010-09-17 09:00:00' and paramid=211;
UPDATE data SET useinfo='7010000000000000' WHERE stationid=87120 and obstime='2010-09-16 11:00:00' and paramid=211;
SELECT * FROM data WHERE stationid=87120 AND obstime BETWEEN '2010-09-16 06:00:00' AND '2010-09-17 16:00:00' AND paramid=211;
### Run ALgorithm...
SELECT * FROM data WHERE stationid=87120 AND obstime BETWEEN '2010-09-16 06:00:00' AND '2010-09-17 16:00:00' AND paramid=211;
DELETE from DATA where stationid=87120 and obstime BETWEEN '2010-09-16 06:00:00' AND '2010-09-17 16:00:00' and paramid=211;
# Interesting case?
Time Series
kvalobs=# select * from data where paramid=213 and stationid=54710 and obstime between '2010-11-20 00:00:00' and '2010-11-20 08:00:00';
stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed
-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+----------------------------
     54710 | 2010-11-20 00:00:00 | -23.8 | 213 | 2010-11-19 23:56:31 | 330 | 0 | 0 | -23.8 | 0311000000000010 | 7010100000000001 | QC1-1-213
     54710 | 2010-11-20 01:00:00 | -24.2 | 213 | 2010-11-20 00:56:36 | 330 | 0 | 0 | -24.2 | 0311000000000010 | 7010100000000001 | QC1-1-213
     54710 | 2010-11-20 02:00:00 | -24.8 | 213 | 2010-11-20 01:56:33 | 330 | 0 | 0 | -24.8 | 0511000000000010 | 7000000000000001 | QC1-1-213
     54710 | 2010-11-20 03:00:00 | -24.6 | 213 | 2010-11-20 02:59:18 | 330 | 0 | 0 | -24.8 | 0511004100000090 | 5031100000000001 | QC1-1-213,QC1-9-211,QC2d-2
     54710 | 2010-11-20 04:00:00 | -24.8 | 213 | 2010-11-20 03:56:34 | 330 | 0 | 0 | -24.8 | 0510000000000010 | 7000000000000001 | QC1-1-213
     54710 | 2010-11-20 05:00:00 | -22.1 | 213 | 2010-11-20 04:56:31 | 330 | 0 | 0 | -22.1 | 0311000000000010 | 7010100000000001 | QC1-1-213
     54710 | 2010-11-20 06:00:00 | -21.3 | 213 | 2010-11-20 05:58:51 | 330 | 0 | 0 | -21.3 | 0311000000000010 | 7010100000000001 | QC1-1-213
     54710 | 2010-11-20 07:00:00 | -21.6 | 213 | 2010-11-20 06:56:38 | 330 | 0 | 0 | -21.6 | 0311000000000010 | 7010100000000001 | QC1-1-213
     54710 | 2010-11-20 08:00:00 | -21.5 | 213 | 2010-11-20 07:56:34 | 330 | 0 | 0 | -21.5 | 0311000000000010 | 7010100000000001 | QC1-1-213
(9 rows)
Modiification history:
kvalobs=# select * from data_history where paramid=213 and stationid=54710 and obstime='2010-11-20 03:00:00' order by modificationtime;
  version | stationid | obstime | original | paramid | tbtime | typeid | sensor | level | corrected | controlinfo | useinfo | cfailed | modificationtime
-----------+-----------+---------------------+----------+---------+---------------------+--------+--------+-------+-----------+------------------+------------------+----------------------------+----------------------------
100031462 | 54710 | 2010-11-20 03:00:00 | -24.6 | 213 | 2010-11-20 02:58:43 | 330 | 0 | 0 | -24.6 | 0000000000000000 | 9999900000000000 | | 2010-11-20 02:58:43.706604
100032803 | 54710 | 2010-11-20 03:00:00 | -24.6 | 213 | 2010-11-20 02:58:43 | 330 | 0 | 0 | -32766 | 0511002000000090 | 7038100000000001 | QC1-1-213,QC1-9-211 | 2010-11-20 02:59:08.283732
100032987 | 54710 | 2010-11-20 03:00:00 | | 213 | 2010-11-20 02:58:43 | 330 | 0 | 0 | | | | | 2010-11-20 02:59:11.801073
100032988 | 54710 | 2010-11-20 03:00:00 | -24.6 | 213 | 2010-11-20 02:59:11 | 330 | 0 | 0 | -24.6 | 0000000000000000 | 9999900000000000 | | 2010-11-20 02:59:11.804903
100033675 | 54710 | 2010-11-20 03:00:00 | | 213 | 2010-11-20 02:59:11 | 330 | 0 | 0 | | | | | 2010-11-20 02:59:18.788327
100033676 | 54710 | 2010-11-20 03:00:00 | -24.6 | 213 | 2010-11-20 02:59:18 | 330 | 0 | 0 | -24.6 | 0000000000000000 | 9999900000000000 | | 2010-11-20 02:59:18.78926
100037281 | 54710 | 2010-11-20 03:00:00 | -24.6 | 213 | 2010-11-20 02:59:18 | 330 | 0 | 0 | -32766 | 0511002000000090 | 7038100000000001 | QC1-1-213,QC1-9-211 | 2010-11-20 03:00:40.907203
100071281 | 54710 | 2010-11-20 03:00:00 | | 213 | 2010-11-20 02:59:18 | 330 | 0 | 0 | | | | | 2010-11-20 06:40:02.10392
100071282 | 54710 | 2010-11-20 03:00:00 | -24.6 | 213 | 2010-11-20 02:59:18 | 330 | 0 | 0 | -24.8 | 0511004100000090 | 5031100000000001 | QC1-1-213,QC1-9-211,QC2d-2 | 2010-11-20 06:40:02.149274
(9 rows)